{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["LK2 - 4.46 Liniengelenke - Kräf","Bemessung-Linien","Sheet2"],"not_rendered":{"charts":0,"images":2,"macros":1,"external_links":0,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"LK2 - 4.46 Liniengelenke - Kräf","index":0,"n_rows":651,"n_cols":8,"rows_kept":651,"cut":false,"hidden":false,"merged":[[0,4,0,6]]}
["Hinge","Line","Surface","Location","Release Forces [kN/m]",null,null,"Release Moment"]
["No.","No.","No.","x [m]","n","vy","vz","mx [kNm/m]"]
[1,196,32,0,0,-2.9260000000000002,-10.101000000000001,0]
[null,null,null,0.5,0.08,2.9209999999999998,-0.67900000000000005,0]
[null,null,null,1,0.107,5.4429999999999996,-0.63600000000000001,0]
[null,null,"",1.5,0.112,6.9210000000000003,-0.63500000000000001,0]
[null,null,"",2,0.111,7.8929999999999998,-0.626,0]
[null,null,"",2.5,0.11,8.6140000000000008,-0.62,0]
[null,null,"",3,0.105,9.4309999999999992,-0.58399999999999996,0]
[null,null,"",3.5,9.4E-2,10.086,-2.4500000000000002,0]
[2,151,22,0,0,8.0809999999999995,8.9589999999999996,0]
[null,null,"",0.46400000000000002,-4.7E-2,0.108,-0.247,0]
[null,null,"",0.92900000000000005,-8.3000000000000004E-2,-7.0999999999999994E-2,-0.26400000000000001,0]
[null,null,"",1.393,-0.10299999999999999,-0.19,-0.20499999999999999,0]
[null,null,"",1.857,-0.11,-0.245,-0.16700000000000001,0]
[null,null,"",2.3210000000000002,-0.105,-0.246,-0.15,0]
[null,null,"",2.786,-7.1999999999999995E-2,-0.22700000000000001,-0.106,0]
[null,null,"",3.25,0,-5.8810000000000002,-5.3230000000000004,0]
[3,148,22,0,0,-2.3889999999999998,4.93,0]
[null,null,"",0.5,0.1,9.5150000000000006,-0.66100000000000003,0]
[null,null,"",1,0.121,15.138,-0.59699999999999998,0]
[null,null,"",1.5,0.123,18.291,-0.63300000000000001,0]
[null,null,"",2,0.125,20.937999999999999,-0.62,0]
[null,null,"",2.5,0.13,23.085999999999999,-0.59399999999999997,0]
[null,null,"",3,0.13800000000000001,24.068000000000001,-0.73299999999999998,0]
[null,null,"",3.5,0.17299999999999999,27.021999999999998,6.7809999999999997,0]
[5,152,23,0,0,15.103999999999999,5.9290000000000003,0]
[null,null,"",0.5,1.4E-2,10.138999999999999,-1.0169999999999999,0]
[null,null,"",1,0.02,18.654,-0.81499999999999995,0]
[null,null,"",1.5,4.2999999999999997E-2,13.840999999999999,-2.5999999999999999E-2,0]
[null,null,"",2,3.7999999999999999E-2,1.784,-0.26700000000000002,0]
[null,null,"",2.5,-3.1E-2,1.5109999999999999,-5.2999999999999999E-2,0]
[null,null,"",3,-0.13400000000000001,1.46,6.2E-2,0]
[null,null,"",3.5,-0.24299999999999999,1.423,7.0999999999999994E-2,0]
[null,null,"",4,-0.32900000000000001,1.5669999999999999,-6.0000000000000001E-3,0]
[null,null,"",4.5,-0.36,2.927,-0.17399999999999999,0]
[null,null,"",5,-0.27300000000000002,16.436,0.54600000000000004,0]
[null,null,"",5.5,0,3.7730000000000001,6.2960000000000003,0]
[6,15,66,0,0,3.278,6.476,0]
[null,null,"",0.5,-2E-3,-0.04,5.4820000000000002,0]
[null,null,"",1,0,0.58299999999999996,7.9450000000000003,0]
[null,null,"",1.5,7.0000000000000001E-3,0.81699999999999995,9.8040000000000003,0]
[null,null,"",2,2.1000000000000001E-2,0.93799999999999994,11.170999999999999,0]
[null,null,"",2.5,4.2999999999999997E-2,1.2110000000000001,12.297000000000001,0]
[null,null,"",3,7.1999999999999995E-2,2.6520000000000001,13.475,0]
[null,null,"",3.5,9.1999999999999998E-2,3.746,15.005000000000001,0]
[null,null,"",4,0,-17.878,6.56,0]
[7,171,25,0,0,-8.5749999999999993,29.312999999999999,0]
[null,null,"",0.46400000000000002,2.4E-2,-0.20599999999999999,0.52900000000000003,0]
[null,null,"",0.92900000000000005,1.6E-2,-6.9000000000000006E-2,0.11899999999999999,0]
[null,null,"",1.393,1.2999999999999999E-2,-6.8000000000000005E-2,7.2999999999999995E-2,0]
[null,null,"",1.857,0.01,-0.03,0.02,0]
[null,null,"",2.3210000000000002,6.0000000000000001E-3,6.9000000000000006E-2,-8.5999999999999993E-2,0]
[null,null,"",2.786,1.4999999999999999E-2,0.29499999999999998,-0.42899999999999999,0]
[null,null,"",3.25,0,9.1920000000000002,-33.781999999999996,0]
[8,50,25,0,-0.17899999999999999,16.204000000000001,6.4459999999999997,0]
[null,null,"",0.5,-0.16700000000000001,17.132999999999999,0.23599999999999999,0]
[null,null,"",1,-0.16600000000000001,16.486999999999998,0.34399999999999997,0]
[null,null,"",1.5,-0.16200000000000001,15.762,0.31,0]
[null,null,"",2,-0.158,14.792,0.308,0]
[null,null,"",2.5,-0.15,14.025,0.29799999999999999,0]
[null,null,"",3,-0.11600000000000001,10.821999999999999,0.30299999999999999,0]
[null,null,"",3.5,0,7.4169999999999998,-28.035,0]
[9,44,25,0,-0.151,29.952000000000002,3.09,0]
[null,null,"",0.5,-0.123,20.216000000000001,0.755,0]
[null,null,"",1,-0.12,18.972000000000001,0.26900000000000002,0]
[null,null,"",1.5,-0.124,18.571999999999999,0.23100000000000001,0]
[null,null,"",2,-0.13700000000000001,17.923999999999999,0.33600000000000002,0]
[null,null,"",2.5,-0.17899999999999999,16.241,-5.9249999999999998,0]
[10,59,66,0,0,0,0,0]
[null,null,"",0.5,-1.6E-2,0.63500000000000001,-2.871,0]
[null,null,"",1,-1.7999999999999999E-2,0.78800000000000003,-1.27,0]
[null,null,"",1.5,-1.9E-2,0.64900000000000002,-0.67500000000000004,0]
[null,null,"",2,-0.02,0.52500000000000002,-0.42399999999999999,0]
[null,null,"",2.5,-0.02,0.46400000000000002,-0.375,0]
[null,null,"",3,-0.02,0.50600000000000001,-0.45900000000000002,0]
[null,null,"",3.5,-1.9E-2,0.66900000000000004,-0.65700000000000003,0]
[null,null,"",4,-1.7000000000000001E-2,1.0129999999999999,-0.97899999999999998,0]
[null,null,"",4.5,-1.2E-2,1.845,-1.3819999999999999,0]
[null,null,"",5,0,11.401999999999999,6.56,0]
[11,170,26,0,-1.157,105.05,-7.4720000000000004,0]
[null,null,"",0.5,-0.97699999999999998,34.273000000000003,-1.3029999999999999,0]
[null,null,"",1,-0.875,22.309000000000001,-0.53,0]
[null,null,"",1.5,-0.78200000000000003,16.238,-0.372,0]
[null,null,"",2,-0.68899999999999995,12.398,-0.39,0]
[null,null,"",2.5,-0.58399999999999996,10.702999999999999,-0.39400000000000002,0]
[null,null,"",3,-0.41099999999999998,7.5519999999999996,-0.316,0]
[null,null,"",3.5,0,-3.3239999999999998,8.2810000000000006,0]
[12,153,27,0,0,8.3450000000000006,-14.878,0]
[null,null,"",0.46400000000000002,-0.106,1.343,-0.218,0]
[null,null,"",0.92900000000000005,-0.20799999999999999,0.98599999999999999,0.36099999999999999,0]
[null,null,"",1.393,-0.22500000000000001,1.0660000000000001,-1.2E-2,0]
[null,null,"",1.857,-0.23899999999999999,0.96599999999999997,-3.9E-2,0]
[null,null,"",2.3210000000000002,-0.193,0.67800000000000005,-0.107,0]
[null,null,"",2.786,-0.128,0.26700000000000002,0.42799999999999999,0]
[null,null,"",3.25,0,-23.228999999999999,12.851000000000001,0]
[13,174,27,0,0,21.151,13.957000000000001,0]
[null,null,"",0.5,0.29099999999999998,31.890999999999998,-7.8E-2,0]
[null,null,"",1,0.379,43.406999999999996,1.9E-2,0]
[null,null,"",1.5,0.439,48.481000000000002,0,0]
[null,null,"",2,0.504,58.234000000000002,1.2E-2,0]
[null,null,"",2.5,0.56899999999999995,78.278999999999996,1.6E-2,0]
[null,null,"",3,0.745,87.248000000000005,8.4000000000000005E-2,0]
[null,null,"",3.5,1.6519999999999999,132.77600000000001,-8.2000000000000003E-2,0]
[14,290,47,0,-0.20100000000000001,64.671999999999997,-0.63200000000000001,0]
[null,null,"",0.5,-0.13800000000000001,33.037999999999997,-0.38600000000000001,0]
[null,null,"",1,-8.7999999999999995E-2,25.129000000000001,-0.435,0]
[null,null,"",1.5,-5.2999999999999999E-2,19.399000000000001,-0.56299999999999994,0]
[null,null,"",2,-3.9E-2,14.846,-0.65600000000000003,0]
[null,null,"",2.5,-4.2000000000000003E-2,10.371,-0.625,0]
[null,null,"",3,0,21.881,-0.96099999999999997,0]
[15,291,47,0,0,7.8019999999999996,1.1830000000000001,0]
[null,null,"",0.46400000000000002,-9.9000000000000005E-2,0.22600000000000001,-0.193,0]
[null,null,"",0.92900000000000005,-0.20300000000000001,4.5279999999999996,-0.122,0]
[null,null,"",1.393,-0.25900000000000001,2.2090000000000001,-0.11899999999999999,0]
[null,null,"",1.857,-0.26500000000000001,0.47699999999999998,-0.08,0]
[null,null,"",2.3210000000000002,-0.22600000000000001,-2.173,0.01,0]
[null,null,"",2.786,-0.128,-2.0619999999999998,0.17799999999999999,0]
[null,null,"",3.25,0,-18.416,0,0]
[16,294,48,0,0,-12.19,2.7149999999999999,0]
[null,null,"",0.5,0.26600000000000001,23.911000000000001,-0.28199999999999997,0]
[null,null,"",1,0.39300000000000002,13.086,-0.10199999999999999,0]
[null,null,"",1.5,0.40600000000000003,3.1890000000000001,-0.108,0]
[null,null,"",2,0.32700000000000001,2.556,-5.8999999999999997E-2,0]
[null,null,"",2.5,0.192,2.3410000000000002,-5.2999999999999999E-2,0]
[null,null,"",3,4.2000000000000003E-2,2.15,-5.3999999999999999E-2,0]
[null,null,"",3.5,-8.5000000000000006E-2,2.25,-0.11700000000000001,0]
[null,null,"",4,-0.153,9.3420000000000005,-0.151,0]
[null,null,"",4.5,-0.154,25.085000000000001,-0.13300000000000001,0]
[null,null,"",5,0,16.274999999999999,1.659,0]
[17,52,72,0,0,6.077,-11.387,0]
[null,null,"",0.5,0.01,-1.0649999999999999,4.0949999999999998,0]
[null,null,"",1,1.9E-2,-1.204,5.7430000000000003,0]
[null,null,"",1.5,2.1999999999999999E-2,-1.355,6.6589999999999998,0]
[null,null,"",2,2.5999999999999999E-2,-1.4239999999999999,7.133,0]
[null,null,"",2.5,3.1E-2,-1.35,7.4180000000000001,0]
[null,null,"",3,3.4000000000000002E-2,-0.57599999999999996,7.7460000000000004,0]
[null,null,"",3.5,2.5999999999999999E-2,0.74099999999999999,8.2089999999999996,0]
[null,null,"",4,0,12.85,1.756,0]
[18,56,72,0,0,9.0470000000000006,1.756,0]
[null,null,"",0.5,-1.4E-2,1.538,0.82,0]
[null,null,"",1,-2.5000000000000001E-2,-0.16400000000000001,-0.30399999999999999,0]
[null,null,"",1.5,-2.9000000000000001E-2,-0.35,-0.153,0]
[null,null,"",2,-2.5999999999999999E-2,-0.84699999999999998,-0.152,0]
[null,null,"",2.5,-2.1999999999999999E-2,-1.7569999999999999,0.17599999999999999,0]
[null,null,"",3,0,-15.259,6.8819999999999997,0]
[19,297,49,0,0,-3.3159999999999998,1.579,0]
[null,null,"",0.5,0.219,13.420999999999999,-0.68300000000000005,0]
[null,null,"",1,0.308,19.545000000000002,-0.57699999999999996,0]
[null,null,"",1.5,0.36199999999999999,21.696999999999999,-0.20599999999999999,0]
[null,null,"",2,0.378,6.6680000000000001,-7.0999999999999994E-2,0]
[null,null,"",2.5,0.33300000000000002,2.8410000000000002,-6.6000000000000003E-2,0]
[null,null,"",3,0.254,2.621,-0.115,0]
[null,null,"",3.5,0.187,13.143000000000001,-0.29299999999999998,0]
[null,null,"",4,0.13300000000000001,21.271999999999998,-0.79900000000000004,0]
[null,null,"",4.5,7.3999999999999996E-2,13.186999999999999,-0.99099999999999999,0]
[null,null,"",5,0,15.943,3.5329999999999999,0]
[20,30,49,0,0,11.045999999999999,5.8490000000000002,0]
[null,null,"",0.46400000000000002,8.9999999999999993E-3,-0.313,0.17399999999999999,0]
[null,null,"",0.92900000000000005,2.9000000000000001E-2,-0.30099999999999999,-0.03,0]
[null,null,"",1.393,3.5999999999999997E-2,-0.23899999999999999,-0.14199999999999999,0]
[null,null,"",1.857,3.5000000000000003E-2,-0.21299999999999999,-0.185,0]
[null,null,"",2.3210000000000002,2.5000000000000001E-2,-0.214,-0.16400000000000001,0]
[null,null,"",2.786,4.0000000000000001E-3,-0.28699999999999998,-0.253,0]
[null,null,"",3.25,0,-15.204000000000001,-3.7759999999999998,0]
[21,161,49,0,0,12.984,0,0]
[null,null,"",0.46400000000000002,0,0.48899999999999999,0.26300000000000001,0]
[null,null,"",0.92900000000000005,-8.8999999999999996E-2,2.42,2.1999999999999999E-2,0]
[null,null,"",1.393,-0.107,2.4319999999999999,-8.7999999999999995E-2,0]
[null,null,"",1.857,-0.122,1.633,-0.13200000000000001,0]
[null,null,"",2.3210000000000002,-7.5999999999999998E-2,2.2490000000000001,-0.13100000000000001,0]
[null,null,"",2.786,-8.5999999999999993E-2,-3.0190000000000001,-0.22,0]
[null,null,"",3.25,0,-16.617000000000001,-1.4239999999999999,0]
[22,302,51,0,-0.20799999999999999,-65.564999999999998,2.073,0]
[null,null,"",0.5,-0.12,-50.116,0.98699999999999999,0]
[null,null,"",1,-0.105,-33.234999999999999,0.70799999999999996,0]
[null,null,"",1.5,-0.11899999999999999,-6.6859999999999999,0.13100000000000001,0]
[null,null,"",2,-0.13400000000000001,-22.832000000000001,0.71299999999999997,0]
[null,null,"",2.5,-0.12,-28.956,0.79500000000000004,0]
[null,null,"",3,-9.9000000000000005E-2,-21.213999999999999,0.59899999999999998,0]
[null,null,"",3.5,-7.5999999999999998E-2,-13.384,0.55500000000000005,0]
[null,null,"",4,0,-1.9259999999999999,-14.653,0]
[23,49,70,0,0,8.1620000000000008,7.0730000000000004,0]
[null,null,"",0.5,-0.108,1.246,3.49,0]
[null,null,"",1,-0.127,-0.64500000000000002,0.66200000000000003,0]
[null,null,"",1.5,-0.128,-1.526,0.47299999999999998,0]
[null,null,"",2,-0.121,-2.5619999999999998,0.33600000000000002,0]
[null,null,"",2.5,-0.107,-4.9189999999999996,0.22800000000000001,0]
[null,null,"",3,-7.8E-2,-7.5590000000000002,0.123,0]
[null,null,"",3.5,0,-8.5939999999999994,-3.6999999999999998E-2,0]
[24,15,68,0,0,16.122,-16.849,0]
[null,null,"",0.5,0.17699999999999999,19.780999999999999,-8.1000000000000003E-2,0]
[null,null,"",1,0.218,30.64,-1.9E-2,0]
[null,null,"",1.5,0.248,37.640999999999998,-7.0000000000000001E-3,0]
[null,null,"",2,0.29799999999999999,46.134999999999998,-1E-3,0]
[null,null,"",2.5,0.35799999999999998,57.15,1.4999999999999999E-2,0]
[null,null,"",3,0.40799999999999997,79.087000000000003,3.5000000000000003E-2,0]
[null,null,"",3.5,0.51300000000000001,82.834999999999994,1.4E-2,0]
[null,null,"",4,1.17,110.553,-1.7999999999999999E-2,0]
[25,161,68,0,0,8.1080000000000005,-24.859000000000002,0]
[null,null,"",0.46400000000000002,2.5999999999999999E-2,0.51300000000000001,-2.9000000000000001E-2,0]
[null,null,"",0.92900000000000005,-6.0000000000000001E-3,0.107,-3.0000000000000001E-3,0]
[null,null,"",1.393,1.7000000000000001E-2,-0.182,3.4000000000000002E-2,0]
[null,null,"",1.857,1.7999999999999999E-2,-0.28000000000000003,8.5999999999999993E-2,0]
[null,null,"",2.3210000000000002,0.04,-0.188,0.17799999999999999,0]
[null,null,"",2.786,-1.2E-2,-0.432,3.0000000000000001E-3,0]
[null,null,"",3.25,0,-3.1619999999999999,17.635999999999999,0]
[26,52,73,0,0,10.834,-28.102,0]
[null,null,"",0.5,0.125,16.463999999999999,-2.4E-2,0]
[null,null,"",1,0.14899999999999999,26.106999999999999,-0.04,0]
[null,null,"",1.5,0.16200000000000001,31.872,-1.2E-2,0]
[null,null,"",2,0.193,37.866,-1.7000000000000001E-2,0]
[null,null,"",2.5,0.245,44.161999999999999,-2.4E-2,0]
[null,null,"",3,0.30499999999999999,51.811999999999998,-3.5999999999999997E-2,0]
[null,null,"",3.5,0.35399999999999998,66.126000000000005,-6.2E-2,0]
[null,null,"",4,0.42599999999999999,117.70699999999999,0.35499999999999998,0]
[27,291,73,0,0,1.724,29.786000000000001,0]
[null,null,"",0.46400000000000002,-7.6999999999999999E-2,0.38300000000000001,0.13500000000000001,0]
[null,null,"",0.92900000000000005,-0.15,0.27900000000000003,2.5000000000000001E-2,0]
[null,null,"",1.393,-0.193,0.27200000000000002,2.8000000000000001E-2,0]
[null,null,"",1.857,-0.189,0.192,2.7E-2,0]
[null,null,"",2.3210000000000002,-0.15,8.9999999999999993E-3,1.2999999999999999E-2,0]
[null,null,"",2.786,-8.4000000000000005E-2,-0.36099999999999999,-0.27500000000000002,0]
[null,null,"",3.25,0,-5.5309999999999997,-35.255000000000003,0]
[29,12,58,0,-0.108,-0.73899999999999999,-34.212000000000003,0]
[null,null,"",0.5,-6.5000000000000002E-2,-1.27,-1.659,0]
[null,null,"",1,-0.05,-0.71699999999999997,-1.385,0]
[null,null,"",1.5,-4.2999999999999997E-2,0.23100000000000001,-0.95699999999999996,0]
[null,null,"",2,-0.04,1.0389999999999999,-0.68600000000000005,0]
[null,null,"",2.5,-0.04,2.0339999999999998,-0.495,0]
[null,null,"",3,-4.1000000000000002E-2,3.4209999999999998,-0.35,0]
[null,null,"",3.5,-4.2999999999999997E-2,5.4450000000000003,-0.224,0]
[null,null,"",4,-4.2999999999999997E-2,8.5990000000000002,-0.11799999999999999,0]
[null,null,"",4.5,-2.5999999999999999E-2,11.547000000000001,0.52500000000000002,0]
[null,null,"",5,0,-1.9710000000000001,4.7549999999999999,0]
[30,199,32,0,0,9.5830000000000002,-10.615,0]
[null,null,"",0.46400000000000002,-2.8000000000000001E-2,-0.121,-0.26400000000000001,0]
[null,null,"",0.92900000000000005,-2.8000000000000001E-2,-0.12,-0.186,0]
[null,null,"",1.393,-2.1000000000000001E-2,-0.21099999999999999,-0.16500000000000001,0]
[null,null,"",1.857,-0.02,-0.25800000000000001,-0.13600000000000001,0]
[null,null,"",2.3210000000000002,-2.5999999999999999E-2,-0.26300000000000001,-0.105,0]
[null,null,"",2.786,-2.5999999999999999E-2,-0.251,3.5999999999999997E-2,0]
[null,null,"",3.25,0,-6.6970000000000001,10.413,0]
[31,148,32,0,0,-10.321999999999999,10.484,0]
[null,null,"",0.5,-3.5000000000000003E-2,-4.3849999999999998,-0.60299999999999998,0]
[null,null,"",1,-6.3E-2,-6.5919999999999996,-0.58699999999999997,0]
[null,null,"",1.5,-7.0999999999999994E-2,-7.6669999999999998,-0.63300000000000001,0]
[null,null,"",2,-7.2999999999999995E-2,-8.9629999999999992,-0.61899999999999999,0]
[null,null,"",2.5,-7.3999999999999996E-2,-10.186,-0.59499999999999997,0]
[null,null,"",3,-7.3999999999999996E-2,-10.364000000000001,-0.66100000000000003,0]
[null,null,"",3.5,-4.9000000000000002E-2,-11.778,6.78,0]
[32,152,33,0,0,-7.0220000000000002,-9.5069999999999997,0]
[null,null,"",0.5,-0.129,-7.641,-1.1359999999999999,0]
[null,null,"",1,-0.218,-14.486000000000001,-0.83,0]
[null,null,"",1.5,-0.29299999999999998,-8.375,-0.25600000000000001,0]
[null,null,"",2,-0.3,2.7559999999999998,-0.30399999999999999,0]
[null,null,"",2.5,-0.23400000000000001,2.9980000000000002,-0.124,0]
[null,null,"",3,-0.121,2.9119999999999999,3.0000000000000001E-3,0]
[null,null,"",3.5,-2E-3,2.706,1.4999999999999999E-2,0]
[null,null,"",4,0.09,2.194,-7.0000000000000007E-2,0]
[null,null,"",4.5,0.12,0.23300000000000001,-0.216,0]
[null,null,"",5,7.0999999999999994E-2,-12.807,0.38700000000000001,0]
[null,null,"",5.5,0,0,0,0]
[33,302,52,0,0.19900000000000001,5.4379999999999997,1.6619999999999999,0]
[null,null,"",0.5,0.27700000000000002,31.666,1.1890000000000001,0]
[null,null,"",1,0.249,17.827999999999999,0.69,0]
[null,null,"",1.5,0.25600000000000001,-6.3410000000000002,0.182,0]
[null,null,"",2,0.25700000000000001,8.4610000000000003,0.69399999999999995,0]
[null,null,"",2.5,0.21299999999999999,15.819000000000001,0.78,0]
[null,null,"",3,0.16500000000000001,10.191000000000001,0.60299999999999998,0]
[null,null,"",3.5,9.8000000000000004E-2,5.5810000000000004,0.58799999999999997,0]
[null,null,"",4,0,12.231,1.8779999999999999,0]
[34,200,33,0,0,-1.4530000000000001,6.7450000000000001,0]
[null,null,"",0.5,0.152,1.48,-1.0249999999999999,0]
[null,null,"",1,0.25,2.9239999999999999,-0.78600000000000003,0]
[null,null,"",1.5,0.33500000000000002,4.4020000000000001,-0.01,0]
[null,null,"",2,0.35599999999999998,2.847,-0.26200000000000001,0]
[null,null,"",2.5,0.28100000000000003,2.5870000000000002,-6.3E-2,0]
[null,null,"",3,0.14599999999999999,2.4049999999999998,4.5999999999999999E-2,0]
[null,null,"",3.5,-8.0000000000000002E-3,2.2749999999999999,5.2999999999999999E-2,0]
[null,null,"",4,-0.13600000000000001,2.194,-2.1000000000000001E-2,0]
[null,null,"",4.5,-0.19600000000000001,2.1579999999999999,-0.13500000000000001,0]
[null,null,"",5,-0.14199999999999999,3.6040000000000001,0.61799999999999999,0]
[null,null,"",5.5,0,2.2949999999999999,26.687999999999999,0]
[35,303,52,0,-0.51800000000000002,-35.369999999999997,1.657,0]
[null,null,"",0.5,-0.30199999999999999,-13.861000000000001,1.224,0]
[null,null,"",1,-0.25,-10.443,0.70499999999999996,0]
[null,null,"",1.5,-0.26500000000000001,-7.2169999999999996,0.124,0]
[null,null,"",2,-0.27800000000000002,-9.0329999999999995,0.71599999999999997,0]
[null,null,"",2.5,-0.246,-8.2989999999999995,0.80200000000000005,0]
[null,null,"",3,-0.19900000000000001,-6.8140000000000001,0.623,0]
[null,null,"",3.5,-0.13400000000000001,-4.6689999999999996,0.53900000000000003,0]
[null,null,"",4,0,2.867,-0.72899999999999998,0]
[36,44,35,0,0.69299999999999995,-2.6040000000000001,3.089,0]
[null,null,"",0.5,0.627,-11.695,0.754,0]
[null,null,"",1,0.59299999999999997,-10.715,0.26800000000000002,0]
[null,null,"",1.5,0.56399999999999995,-10.102,0.23400000000000001,0]
[null,null,"",2,0.52200000000000002,-8.9740000000000002,0.33600000000000002,0]
[null,null,"",2.5,0.435,-9.3510000000000009,-5.9249999999999998,0]
[37,50,35,0,0.435,-9.3879999999999999,6.4459999999999997,0]
[null,null,"",0.5,0.40300000000000002,-8.2089999999999996,0.23599999999999999,0]
[null,null,"",1,0.379,-8.0779999999999994,0.34399999999999997,0]
[null,null,"",1.5,0.35899999999999999,-7.7309999999999999,0.31,0]
[null,null,"",2,0.33400000000000002,-7.32,0.30599999999999999,0]
[null,null,"",2.5,0.29099999999999998,-7.6449999999999996,0.30399999999999999,0]
[null,null,"",3,0.19900000000000001,-6.5209999999999999,0.41199999999999998,0]
[null,null,"",3.5,0,-7.36,15.62,0]
[38,220,35,0,0,-15.388999999999999,13.766,0]
[null,null,"",0.46400000000000002,6.0999999999999999E-2,-0.28799999999999998,0.32100000000000001,0]
[null,null,"",0.92900000000000005,8.5000000000000006E-2,-0.13,8.4000000000000005E-2,0]
[null,null,"",1.393,9.4E-2,-9.7000000000000003E-2,6.8000000000000005E-2,0]
[null,null,"",1.857,9.4E-2,-0.06,4.8000000000000001E-2,0]
[null,null,"",2.3210000000000002,8.5999999999999993E-2,8.0000000000000002E-3,5.0000000000000001E-3,0]
[null,null,"",2.786,6.4000000000000001E-2,0.154,-0.23400000000000001,0]
[null,null,"",3.25,0,15.635999999999999,-16.146000000000001,0]
[39,17,35,0,-0.44800000000000001,5.8179999999999996,3.3130000000000002,0]
[null,null,"",0.5,-0.40699999999999997,7.1289999999999996,0.23499999999999999,0]
[null,null,"",1,-0.38400000000000001,6.8230000000000004,0.31900000000000001,0]
[null,null,"",1.5,-0.36199999999999999,6.45,0.32200000000000001,0]
[null,null,"",2,-0.33300000000000002,5.8860000000000001,0.32300000000000001,0]
[null,null,"",2.5,-0.28899999999999998,4.9450000000000003,0.29199999999999998,0]
[null,null,"",3,-0.19900000000000001,3.1059999999999999,0.28799999999999998,0]
[null,null,"",3.5,0,-5.8460000000000001,-13.304,0]
[40,11,35,0,-0.61299999999999999,22.452999999999999,2.8730000000000002,0]
[null,null,"",0.5,-0.55300000000000005,6.8760000000000003,0.75600000000000001,0]
[null,null,"",1,-0.52400000000000002,6.5910000000000002,0.29199999999999998,0]
[null,null,"",1.5,-0.502,6.7960000000000003,0.222,0]
[null,null,"",2,-0.47899999999999998,7.0869999999999997,0.39400000000000002,0]
[null,null,"",2.5,-0.44800000000000001,5.6559999999999997,-2.6269999999999998,0]
[41,170,36,0,0.55700000000000005,13.391,-7.4729999999999999,0]
[null,null,"",0.5,0.49399999999999999,-29.977,-1.302,0]
[null,null,"",1,0.43099999999999999,-16.891999999999999,-0.52700000000000002,0]
[null,null,"",1.5,0.36199999999999999,-11.337,-0.375,0]
[null,null,"",2,0.29799999999999999,-8.0399999999999991,-0.38700000000000001,0]
[null,null,"",2.5,0.23499999999999999,-7.125,-0.40300000000000002,0]
[null,null,"",3,0.14699999999999999,-4.9340000000000002,-0.40500000000000003,0]
[null,null,"",3.5,0,0.81599999999999995,-15.147,0]
[42,54,70,0,0,-35.905999999999999,7.0730000000000004,0]
[null,null,"",0.5,0.20399999999999999,10.132,7.4909999999999997,0]
[null,null,"",1,0.27800000000000002,7.5119999999999996,6.5970000000000004,0]
[null,null,"",1.5,0.33200000000000002,4.0570000000000004,6.03,0]
[null,null,"",2,0.38500000000000001,2.351,5.3760000000000003,0]
[null,null,"",2.5,0.44800000000000001,1.3109999999999999,4.242,0]
[null,null,"",3,0.55600000000000005,-0.51800000000000002,-0.11600000000000001,0]
[null,null,"",3.5,0.80800000000000005,-9.8480000000000008,-108.21899999999999,0]
[43,219,36,0,-0.86699999999999999,69.679000000000002,-6.4269999999999996,0]
[null,null,"",0.5,-0.69499999999999995,4.2549999999999999,-1.528,0]
[null,null,"",1,-0.57299999999999995,3.5550000000000002,-0.63300000000000001,0]
[null,null,"",1.5,-0.47199999999999998,3.3130000000000002,-0.432,0]
[null,null,"",2,-0.38800000000000001,3.0089999999999999,-0.43099999999999999,0]
[null,null,"",2.5,-0.31,2.625,-0.41,0]
[null,null,"",3,-0.20799999999999999,1.9379999999999999,-0.35399999999999998,0]
[null,null,"",3.5,0,4.0309999999999997,14.84,0]
[44,201,37,0,0,29.295000000000002,-7.5510000000000002,0]
[null,null,"",0.46400000000000002,-9.7000000000000003E-2,1.66,-0.03,0]
[null,null,"",0.92900000000000005,-0.16600000000000001,1.1259999999999999,0.33200000000000002,0]
[null,null,"",1.393,-0.16700000000000001,1.194,7.3999999999999996E-2,0]
[null,null,"",1.857,-0.16500000000000001,1.1479999999999999,5.6000000000000001E-2,0]
[null,null,"",2.3210000000000002,-0.11799999999999999,1.002,1.0999999999999999E-2,0]
[null,null,"",2.786,-4.8000000000000001E-2,0.86299999999999999,0.50700000000000001,0]
[null,null,"",3.25,0,0,0,0]
[45,174,67,0,0.17899999999999999,-7.49,11.907,0]
[null,null,"",0.5,0.17899999999999999,-3.129,12.778,0]
[null,null,"",1,0.189,-1.538,12.002000000000001,0]
[null,null,"",1.5,0.19400000000000001,-1.37,11.361000000000001,0]
[null,null,"",2,0.19600000000000001,-2.0430000000000001,10.750999999999999,0]
[null,null,"",2.5,0.191,-3.1360000000000001,10.182,0]
[null,null,"",3,0.16300000000000001,5.8570000000000002,9.5879999999999992,0]
[null,null,"",3.5,0,-61.692,0.73899999999999999,0]
[46,223,37,0,0,0.28100000000000003,6.9850000000000003,0]
[null,null,"",0.5,0.46200000000000002,12.308,0.38300000000000001,0]
[null,null,"",1,0.67500000000000004,14.978,0.60399999999999998,0]
[null,null,"",1.5,0.82699999999999996,16.077000000000002,0.78,0]
[null,null,"",2,0.98199999999999998,17.489999999999998,0.95499999999999996,0]
[null,null,"",2.5,1.1539999999999999,20.603999999999999,1.014,0]
[null,null,"",3,1.429,26.221,1.1759999999999999,0]
[null,null,"",3.5,2.3010000000000002,148.64500000000001,0.48699999999999999,0]
[47,301,50,0,0,-16.47,61.313000000000002,0]
[null,null,"",0.5,0.214,6.5780000000000003,-0.27500000000000002,0]
[null,null,"",1,0.34399999999999997,8.0640000000000001,-7.9000000000000001E-2,0]
[null,null,"",1.5,0.34699999999999998,4.4059999999999997,-0.105,0]
[null,null,"",2,0.23699999999999999,3.8149999999999999,-6.2E-2,0]
[null,null,"",2.5,6.0999999999999999E-2,3.6259999999999999,-5.7000000000000002E-2,0]
[null,null,"",3,-0.124,3.7189999999999999,-5.8999999999999997E-2,0]
[null,null,"",3.5,-0.26100000000000001,4.0220000000000002,-0.11600000000000001,0]
[null,null,"",4,-0.28499999999999998,6.4850000000000003,-0.152,0]
[null,null,"",4.5,-0.20100000000000001,6.202,-4.8000000000000001E-2,0]
[null,null,"",5,0,-8.6989999999999998,12.137,0]
[48,57,72,0,0,-15.259,6.8819999999999997,0]
[null,null,"",0.5,4.0000000000000001E-3,-4.181,-1.69,0]
[49,294,50,0,-0.441,-22.713000000000001,2.1509999999999998,0]
[null,null,"",0.5,-0.48099999999999998,-18.173999999999999,-0.36799999999999999,0]
[null,null,"",1,-0.54800000000000004,-4.319,-0.20699999999999999,0]
[null,null,"",1.5,-0.53,3.7210000000000001,-0.16200000000000001,0]
[null,null,"",2,-0.433,4.1870000000000003,-0.126,0]
[null,null,"",2.5,-0.28799999999999998,4.33,-0.111,0]
[null,null,"",3,-0.13400000000000001,4.4400000000000004,-0.11799999999999999,0]
[null,null,"",3.5,-1.2999999999999999E-2,4.173,-0.17799999999999999,0]
[null,null,"",4,2.4E-2,-2.2320000000000002,-0.20200000000000001,0]
[null,null,"",4.5,-1.7999999999999999E-2,-19.414999999999999,-0.29299999999999998,0]
[null,null,"",5,-5.6000000000000001E-2,-21.678000000000001,0.316,0]
[50,310,66,0,-2E-3,-0.64300000000000002,-0.81200000000000006,0]
[null,null,"",0.5,0,3.278,6.4770000000000003,0]
[51,298,53,0,-0.44900000000000001,45.006999999999998,-0.75600000000000001,0]
[null,null,"",0.5,-0.377,8.6029999999999998,-0.38700000000000001,0]
[null,null,"",1,-0.309,6.5949999999999998,-0.433,0]
[null,null,"",1.5,-0.245,5.5460000000000003,-0.57199999999999995,0]
[null,null,"",2,-0.189,4.6509999999999998,-0.68400000000000005,0]
[null,null,"",2.5,-0.129,2.6779999999999999,-0.53,0]
[null,null,"",3,0,6.9459999999999997,-50.887999999999998,0]
[52,39,53,0,0,-11.302,1.3420000000000001,0]
[null,null,"",0.46400000000000002,0.112,-1.4850000000000001,-0.11700000000000001,0]
[null,null,"",0.92900000000000005,0.193,4.7809999999999997,-8.8999999999999996E-2,0]
[null,null,"",1.393,0.24399999999999999,1.4850000000000001,-0.128,0]
[null,null,"",1.857,0.24199999999999999,-1.177,-0.14199999999999999,0]
[null,null,"",2.3210000000000002,0.191,-3.63,-0.14099999999999999,0]
[null,null,"",2.786,0.1,2.9929999999999999,-0.30299999999999999,0]
[null,null,"",3.25,0,7.3470000000000004,55.290999999999997,0]
[53,290,53,0,1.2999999999999999E-2,6.4000000000000001E-2,-0.63300000000000001,0]
[null,null,"",0.5,-5.8000000000000003E-2,-23.513999999999999,-0.38600000000000001,0]
[null,null,"",1,-0.11799999999999999,-16.823,-0.434,0]
[null,null,"",1.5,-0.17799999999999999,-12.093999999999999,-0.56299999999999994,0]
[null,null,"",2,-0.23799999999999999,-8.8019999999999996,-0.65700000000000003,0]
[null,null,"",2.5,-0.312,-6.6420000000000003,-0.65100000000000002,0]
[null,null,"",3,-0.441,-0.48199999999999998,-1.3779999999999999,0]
[54,300,54,0,0,1.861,16.215,0]
[null,null,"",0.5,0.104,2.371,-0.627,0]
[null,null,"",1,0.159,5.0910000000000002,-0.57999999999999996,0]
[null,null,"",1.5,0.20200000000000001,7.3029999999999999,-0.20899999999999999,0]
[null,null,"",2,0.20699999999999999,4.8220000000000001,-7.4999999999999997E-2,0]
[null,null,"",2.5,0.152,3.4449999999999998,-7.2999999999999995E-2,0]
[null,null,"",3,6.7000000000000004E-2,3.3919999999999999,-0.11700000000000001,0]
[null,null,"",3.5,8.9999999999999993E-3,5.649,-0.29099999999999998,0]
[null,null,"",4,-8.0000000000000002E-3,5.4950000000000001,-0.79,0]
[null,null,"",4.5,-8.0000000000000002E-3,3.1240000000000001,-0.96199999999999997,0]
[null,null,"",5,0,1.357,10.436,0]
[55,32,54,0,0,2.0649999999999999,13.92,0]
[null,null,"",0.46400000000000002,-2.5000000000000001E-2,-6.2E-2,-6.0000000000000001E-3,0]
[null,null,"",0.92900000000000005,-2.3E-2,-0.14399999999999999,-0.156,0]
[null,null,"",1.393,-2.5999999999999999E-2,-0.14499999999999999,-0.219,0]
[null,null,"",1.857,-2.8000000000000001E-2,-0.14699999999999999,-0.23100000000000001,0]
[null,null,"",2.3210000000000002,-2.9000000000000001E-2,-0.13400000000000001,-0.21099999999999999,0]
[null,null,"",2.786,-2.9000000000000001E-2,-0.11899999999999999,-0.34799999999999998,0]
[null,null,"",3.25,0,-0.69399999999999995,-10.89,0]
[56,297,54,0,-5.6000000000000001E-2,-11.253,0.71499999999999997,0]
[null,null,"",0.5,-0.112,-10.102,-0.73299999999999998,0]
[null,null,"",1,-0.17299999999999999,-12.763999999999999,-0.57299999999999995,0]
[null,null,"",1.5,-0.218,-11.952999999999999,-0.28499999999999998,0]
[null,null,"",2,-0.23200000000000001,1.3839999999999999,-0.13700000000000001,0]
[null,null,"",2.5,-0.19600000000000001,3.9769999999999999,-0.129,0]
[null,null,"",3,-0.129,3.9180000000000001,-0.16800000000000001,0]
[null,null,"",3.5,-7.3999999999999996E-2,-5.0339999999999998,-0.42099999999999999,0]
[null,null,"",4,-6.2E-2,-13.563000000000001,-0.81699999999999995,0]
[null,null,"",4.5,-5.3999999999999999E-2,-8.327,-1.0129999999999999,0]
[null,null,"",5,0,-4.4950000000000001,-13.314,0]
[57,209,54,0,0,11.590999999999999,-0.90800000000000003,0]
[null,null,"",0.46400000000000002,4.2000000000000003E-2,0.374,-0.11,0]
[null,null,"",0.92900000000000005,7.5999999999999998E-2,-4.5309999999999997,-9.2999999999999999E-2,0]
[null,null,"",1.393,6.8000000000000005E-2,-1.3460000000000001,-0.14599999999999999,0]
[null,null,"",1.857,0.05,0.94499999999999995,-0.17199999999999999,0]
[null,null,"",2.3210000000000002,9.7000000000000003E-2,4.1189999999999998,-0.193,0]
[null,null,"",2.786,2.7E-2,-1.988,-0.60299999999999998,0]
[null,null,"",3.25,0,-7.46,-16.462,0]
[59,223,58,0,-0.59199999999999997,5.0019999999999998,6.7859999999999996,0]
[null,null,"",0.5,-0.49299999999999999,0.46,8.7620000000000005,0]
[null,null,"",1,-0.45400000000000001,0.373,8.8759999999999994,0]
[null,null,"",1.5,-0.436,0.61699999999999999,8.8460000000000001,0]
[null,null,"",2,-0.42599999999999999,0.61099999999999999,9.1790000000000003,0]
[null,null,"",2.5,-0.42199999999999999,0.69899999999999995,10.500999999999999,0]
[null,null,"",3,-0.433,0.42699999999999999,13.327999999999999,0]
[null,null,"",3.5,-0.48,-5.726,42.975999999999999,0]
[60,10,59,0,-2E-3,-1.605,8.9250000000000007,0]
[null,null,"",0.5,0.104,1.3440000000000001,8.1999999999999993,0]
[null,null,"",1,0.152,2.3370000000000002,6.7670000000000003,0]
[null,null,"",1.5,0.185,1.1890000000000001,6.0789999999999997,0]
[null,null,"",2,0.217,0.81200000000000006,5.8840000000000003,0]
[null,null,"",2.5,0.25,0.69499999999999995,6.149,0]
[null,null,"",3,0.28699999999999998,1.276,6.8860000000000001,0]
[null,null,"",3.5,0.34300000000000003,7.0000000000000001E-3,8.1489999999999991,0]
[null,null,"",4,0.48,-8.5939999999999994,-20.504000000000001,0]
[62,28,59,0,0,-0.35599999999999998,5.7910000000000004,0]
[null,null,"",0.5,5.0000000000000001E-3,-1.0229999999999999,1.7769999999999999,0]
[null,null,"",1,7.0000000000000001E-3,-0.44,1.1499999999999999,0]
[null,null,"",1.5,8.9999999999999993E-3,0.45800000000000002,0.75900000000000001,0]
[null,null,"",2,1.2999999999999999E-2,1.3260000000000001,0.52100000000000002,0]
[null,null,"",2.5,1.7000000000000001E-2,2.4550000000000001,0.39800000000000002,0]
[null,null,"",3,2.1999999999999999E-2,4.032,0.376,0]
[null,null,"",3.5,2.5000000000000001E-2,6.2720000000000002,0.45600000000000002,0]
[null,null,"",4,2.5999999999999999E-2,9.6120000000000001,0.65400000000000003,0]
[null,null,"",4.5,0.02,12.157999999999999,0.98899999999999999,0]
[null,null,"",5,0,10.007999999999999,0.25900000000000001,0]
[65,21,61,0,0.96499999999999997,2.3769999999999998,2.871,0]
[null,null,"",0.5,0.97499999999999998,3.1E-2,9.6460000000000008,0]
[null,null,"",1,0.98499999999999999,0.51400000000000001,6.8070000000000004,0]
[null,null,"",1.5,1.0089999999999999,0.23,5.4279999999999999,0]
[null,null,"",2,1.0469999999999999,0.30199999999999999,4.5990000000000002,0]
[null,null,"",2.5,1.105,0.65,3.8029999999999999,0]
[null,null,"",3,1.214,9.6000000000000002E-2,1.8720000000000001,0]
[null,null,"",3.5,1.4390000000000001,-18.399000000000001,-69.563999999999993,0]
[66,7,60,0,0,-0.88100000000000001,2.4430000000000001,0]
[null,null,"",0.5,8.0000000000000002E-3,0.52,4.0019999999999998,0]
[null,null,"",1,1.2999999999999999E-2,-0.57699999999999996,6.3330000000000002,0]
[null,null,"",1.5,1.9E-2,-1.923,7.556,0]
[null,null,"",2,2.5000000000000001E-2,-2.6280000000000001,8.49,0]
[null,null,"",2.5,0.03,-3.1890000000000001,9.3949999999999996,0]
[null,null,"",3,3.2000000000000001E-2,-4.0350000000000001,10.701000000000001,0]
[null,null,"",3.5,2.3E-2,-3.7850000000000001,13.18,0]
[null,null,"",4,-2E-3,-2.6760000000000002,14.468999999999999,0]
[67,19,60,0,0,2.355,6.5190000000000001,0]
[null,null,"",0.5,-0.22600000000000001,0.14299999999999999,3.81,0]
[null,null,"",1,-0.35899999999999999,1.2749999999999999,6.3929999999999998,0]
[null,null,"",1.5,-0.44400000000000001,2.2309999999999999,7.7750000000000004,0]
[null,null,"",2,-0.51500000000000001,2.8340000000000001,8.6999999999999993,0]
[null,null,"",2.5,-0.58199999999999996,3.3149999999999999,9.4160000000000004,0]
[null,null,"",3,-0.65300000000000002,3.8639999999999999,10.303000000000001,0]
[null,null,"",3.5,-0.75800000000000001,3.4569999999999999,12.664,0]
[null,null,"",4,-0.95899999999999996,-2.4980000000000002,8.4979999999999993,0]
[68,312,72,0,1.2E-2,-2.2210000000000001,0.53700000000000003,0]
[null,null,"",0.5,0,6.077,-11.387,0]
[69,307,60,0,1E-3,-1.641,-8.0000000000000002E-3,0]
[null,null,"",0.5,0,-0.88100000000000001,2.4430000000000001,0]
[70,311,60,0,-7.1999999999999995E-2,0.48599999999999999,-0.93600000000000005,0]
[null,null,"",0.5,0,2.355,6.5190000000000001,0]
[71,16,61,0,0,-1.64,1.5469999999999999,0]
[null,null,"",0.5,-1.0999999999999999E-2,0.52400000000000002,0.05,0]
[null,null,"",1,-1.7000000000000001E-2,0.69199999999999995,3.7999999999999999E-2,0]
[null,null,"",1.5,-0.02,1.0129999999999999,5.2999999999999999E-2,0]
[null,null,"",2,-2.1999999999999999E-2,1.524,6.3E-2,0]
[null,null,"",2.5,-2.1000000000000001E-2,2.569,0.06,0]
[null,null,"",3,-1.6E-2,3.3,6.4000000000000001E-2,0]
[null,null,"",3.5,0,2.6989999999999998,0.16200000000000001,0]
[72,7,74,0,0,-7.0000000000000007E-2,10.401999999999999,0]
[null,null,"",0.5,0.39700000000000002,7.5359999999999996,0.248,0]
[null,null,"",1,0.56699999999999995,11.677,0.42199999999999999,0]
[null,null,"",1.5,0.68300000000000005,14.058999999999999,0.52600000000000002,0]
[null,null,"",2,0.80800000000000005,15.919,0.58599999999999997,0]
[null,null,"",2.5,0.96,17.736000000000001,0.59899999999999998,0]
[null,null,"",3,1.135,20.431000000000001,0.53200000000000003,0]
[null,null,"",3.5,1.2709999999999999,25.875,0.45500000000000002,0]
[null,null,"",4,1.33,136.08600000000001,0.38700000000000001,0]
[73,209,74,0,5.8000000000000003E-2,-1.9370000000000001,-0.998,0]
[null,null,"",0.46400000000000002,0.15,-3.5000000000000003E-2,0.38600000000000001,0]
[null,null,"",0.92900000000000005,0.19700000000000001,-0.11,2.1000000000000001E-2,0]
[null,null,"",1.393,0.20499999999999999,-0.29299999999999998,-1.4999999999999999E-2,0]
[null,null,"",1.857,0.191,-0.35699999999999998,0.12,0]
[null,null,"",2.3210000000000002,0.20799999999999999,-0.314,0.17699999999999999,0]
[null,null,"",2.786,0.125,-1.2070000000000001,-5.7000000000000002E-2,0]
[null,null,"",3.25,0,-28.722000000000001,-11.23,0]
[74,19,75,0,0,3.952,-14.073,0]
[null,null,"",0.5,6.0999999999999999E-2,6.7569999999999997,-0.36199999999999999,0]
[null,null,"",1,5.6000000000000001E-2,10.666,-0.51200000000000001,0]
[null,null,"",1.5,5.6000000000000001E-2,12.673,-0.57199999999999995,0]
[null,null,"",2,7.5999999999999998E-2,13.936,-0.63400000000000001,0]
[null,null,"",2.5,0.11799999999999999,14.888,-0.65500000000000003,0]
[null,null,"",3,0.17899999999999999,16.215,-0.624,0]
[null,null,"",3.5,0.251,19.379000000000001,-0.63500000000000001,0]
[null,null,"",4,0.39800000000000002,112.619,0.59099999999999997,0]
[75,39,75,0,3.7999999999999999E-2,-1.4950000000000001,0.82699999999999996,0]
[null,null,"",0.46400000000000002,0.11600000000000001,-9.8000000000000004E-2,-0.30199999999999999,0]
[null,null,"",0.92900000000000005,0.18,-0.19600000000000001,-6.7000000000000004E-2,0]
[null,null,"",1.393,0.221,-0.28599999999999998,-9.6000000000000002E-2,0]
[null,null,"",1.857,0.22,-0.32600000000000001,-5.1999999999999998E-2,0]
[null,null,"",2.3210000000000002,0.17,-0.33400000000000002,-4.4999999999999998E-2,0]
[null,null,"",2.786,9.7000000000000003E-2,-0.61799999999999999,5.0000000000000001E-3,0]
[null,null,"",3.25,0,-10.397,15.034000000000001,0]
[77,3,32,0,9.4E-2,8.9719999999999995,1.0189999999999999,0]
[null,null,"",0.54900000000000004,0.10299999999999999,9.4309999999999992,-0.66,0]
[null,null,"",1.097,0.114,8.7409999999999997,-0.58299999999999996,0]
[null,null,"",1.6459999999999999,0.128,8.5060000000000002,-0.60099999999999998,0]
[null,null,"",2.1949999999999998,0.13900000000000001,8.7029999999999994,-0.81499999999999995,0]
[null,null,"",2.7429999999999999,0.155,18.241,-1.893,0]
[78,6,22,0,0.17299999999999999,24.63,-7.4020000000000001,0]
[null,null,"",0.54900000000000004,0.13700000000000001,26.271999999999998,-0.51400000000000001,0]
[null,null,"",1.097,0.14099999999999999,25.873000000000001,-0.60399999999999998,0]
[null,null,"",1.6459999999999999,0.154,26.215,-0.61,0]
[null,null,"",2.1949999999999998,0.16400000000000001,27.132999999999999,-0.81899999999999995,0]
[null,null,"",2.7429999999999999,0.17899999999999999,35.692999999999998,-1.9059999999999999,0]
[79,6,32,0,-4.9000000000000002E-2,-10.731,-7.4039999999999999,0]
[null,null,"",0.54900000000000004,-0.104,-12.505000000000001,-0.57699999999999996,0]
[null,null,"",1.097,-0.13,-12.558999999999999,-0.60499999999999998,0]
[null,null,"",1.6459999999999999,-0.14899999999999999,-12.978999999999999,-0.60899999999999999,0]
[null,null,"",2.1949999999999998,-0.161,-13.542999999999999,-0.81799999999999995,0]
[null,null,"",2.7429999999999999,-0.17299999999999999,-6.9980000000000002,-1.9079999999999999,0]
[80,2,76,0,0.108,10.003,-97.692999999999998,0]
[null,null,"",0.5,5.7000000000000002E-2,-9.6980000000000004,-0.61399999999999999,0]
[null,null,"",1,5.3999999999999999E-2,-7.3049999999999997,-1.1339999999999999,0]
[null,null,"",1.5,4.7E-2,-4.4429999999999996,-0.63900000000000001,0]
[null,null,"",2,3.9E-2,-2.8010000000000002,-0.36499999999999999,0]
[null,null,"",2.5,3.2000000000000001E-2,-1.698,-0.16500000000000001,0]
[null,null,"",3,2.7E-2,-0.91500000000000004,-3.2000000000000001E-2,0]
[null,null,"",3.5,2.3E-2,-0.31900000000000001,4.5999999999999999E-2,0]
[null,null,"",4,1.9E-2,0.188,7.9000000000000001E-2,0]
[null,null,"",4.5,1.6E-2,0.81,7.9000000000000001E-2,0]
[null,null,"",5,1.0999999999999999E-2,1.3009999999999999,5.6000000000000001E-2,0]
[null,null,"",5.5,0,1.194,0.24099999999999999,0]
[81,5,77,0,-0.39500000000000002,-4.5650000000000004,14.087,0]
[null,null,"",0.5,-0.28999999999999998,1.597,2.4039999999999999,0]
[null,null,"",1,-0.24399999999999999,1.996,-0.97299999999999998,0]
[null,null,"",1.5,-0.219,1.127,-0.66300000000000003,0]
[null,null,"",2,-0.2,0.88200000000000001,-0.38600000000000001,0]
[null,null,"",2.5,-0.183,0.80400000000000005,-0.16300000000000001,0]
[null,null,"",3,-0.16900000000000001,0.85499999999999998,-5.0000000000000001E-3,0]
[null,null,"",3.5,-0.154,0.996,0.09,0]
[null,null,"",4,-0.13900000000000001,1.1819999999999999,0.13,0]
[null,null,"",4.5,-0.121,1.47,0.121,0]
[null,null,"",5,-8.7999999999999995E-2,1.6020000000000001,0.1,0]
[null,null,"",5.5,0,1.3759999999999999,-3.0000000000000001E-3,0]
[82,43,79,0,-4.9000000000000002E-2,-0.66200000000000003,10.746,0]
[null,null,"",0.5,-4.7E-2,-0.42599999999999999,1.7370000000000001,0]
[null,null,"",1,-4.4999999999999998E-2,-0.114,0.88600000000000001,0]
[null,null,"",1.5,-4.2999999999999997E-2,0.34100000000000003,0.49399999999999999,0]
[null,null,"",2,-0.04,0.91,0.36099999999999999,0]
[null,null,"",2.5,-3.5999999999999997E-2,1.6839999999999999,0.379,0]
[null,null,"",3,-3.1E-2,2.758,0.51,0]
[null,null,"",3.5,-2.5999999999999999E-2,4.2809999999999997,0.749,0]
[null,null,"",4,-2.1999999999999999E-2,6.718,1.1399999999999999,0]
[null,null,"",4.5,-2.7E-2,8.8330000000000002,1.609,0]
[null,null,"",5,0,29.387,11.336,0]
[83,47,79,0,-4.8000000000000001E-2,-1.1060000000000001,2.375,0]
[null,null,"",0.5,-4.9000000000000002E-2,-0.66200000000000003,10.746,0]
[84,59,78,0,2.5999999999999999E-2,-0.245,16.678999999999998,0]
[null,null,"",0.5,1.6E-2,-0.63500000000000001,2.871,0]
[null,null,"",1,1.7999999999999999E-2,-0.78800000000000003,1.27,0]
[null,null,"",1.5,1.9E-2,-0.64900000000000002,0.67500000000000004,0]
[null,null,"",2,0.02,-0.52500000000000002,0.42399999999999999,0]
[null,null,"",2.5,0.02,-0.46400000000000002,0.375,0]
[null,null,"",3,0.02,-0.50600000000000001,0.45900000000000002,0]
[null,null,"",3.5,1.9E-2,-0.66900000000000004,0.65700000000000003,0]
[null,null,"",4,1.7000000000000001E-2,-1.0129999999999999,0.97899999999999998,0]
[null,null,"",4.5,1.2E-2,-1.845,1.3819999999999999,0]
[null,null,"",5,0,-3.4820000000000002,8.4789999999999992,0]
[85,62,78,0,2.7E-2,0.505,4.4000000000000004,0]
[null,null,"",0.5,2.5999999999999999E-2,-0.245,16.678999999999998,0]
[96,20,62,0,0.95899999999999996,-24.193999999999999,-1.5720000000000001,0]
[null,null,"",0.5,0.86199999999999999,1.5109999999999999,5.48,0]
[null,null,"",1,0.82599999999999996,3.528,4.5949999999999998,0]
[null,null,"",1.5,0.82199999999999995,2.2000000000000002,4.53,0]
[null,null,"",2,0.83299999999999996,1.702,4.8949999999999996,0]
[null,null,"",2.5,0.85099999999999998,1.2909999999999999,5.5869999999999997,0]
[null,null,"",3,0.877,1.004,6.9580000000000002,0]
[null,null,"",3.5,0.91300000000000003,0.249,9.8279999999999994,0]
[null,null,"",4,0.96499999999999997,4.1449999999999996,6.0789999999999997,0]
[97,29,62,0,0,43.823999999999998,7.1849999999999996,0]
[null,null,"",0.5,4.3999999999999997E-2,-4.9349999999999996,1.4890000000000001,0]
[null,null,"",1,2.5999999999999999E-2,-2.6850000000000001,0.64800000000000002,0]
[null,null,"",1.5,2.8000000000000001E-2,-0.503,0.46899999999999997,0]
[null,null,"",2,3.1E-2,1.7190000000000001,0.47399999999999998,0]
[null,null,"",2.5,3.6999999999999998E-2,3.9510000000000001,1.506,0]
[null,null,"",3,3.6999999999999998E-2,-3.5750000000000002,9.1300000000000008,0]
[98,33,62,0,3.6999999999999998E-2,-3.5750000000000002,9.1300000000000008,0]
[null,null,"",0.5,2.9000000000000001E-2,7.6059999999999999,2.097,0]

{"sheet":"Bemessung-Linien","index":1,"n_rows":17,"n_cols":4,"rows_kept":17,"cut":false,"hidden":false,"merged":[]}
[null,null,"Verbinder","Nägel n.v."]
[null,null,"Durchmesser",4.2]
[null,null,"kser",778.31172415403432]
[null,null,"ρm",380]
[null,null,"ku",{"$f":"D3*2/3","v":518.87448276935618}]
[null,null,"γM",1.25]
[null,null,"kmod",0.9]
[null,null,"a",40]
[null,null,"n",{"$f":"ROUND(100/D8,0)","v":3}]
[null,null,"kser/m",{"$f":"D3*D9","v":2334.9351724621029}]
[null,null,"ku/m",{"$f":"D5*D9","v":1556.6234483080684}]
[null,null,"Max F",60.646337623294471]
[]
[null,null,"Tragfähigkeit"]
[null,null,"Fv,Rk",26.2]
[null,null,"Fv,Rd",{"$f":"D15*D9*D7/D6","v":56.591999999999999}]
[null,null,"ή",{"$f":"D12/D16","v":1.0716415327836881}]

{"sheet":"Sheet2","index":2,"n_rows":3,"n_cols":6,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,"Nägel n.v."]
[null,null,null,null,null,"Klammern"]
[null,null,null,null,null,"Schrauben"]